## PermitAPP
Utility Permit Application Checklist
PROJECT NAME:
ENGINEER:
DATE:
Please complete the checklist and submit along with the utility permit application.
Hillsborough County Department of Health (HCDOH) Permit Checklist
Permit Type | DEP FORM 62-555.900(7) Construction of Water Main Extension for PWSs
HCHD PERMIT FORM Water Line Service to a Single Building Only
DEP FORM 62-555.900(1) Application for a Specific Permit
ITEM | DESCRIPTION | NOTE
1 | Completed the latest FDEP or HC permit application form - One (1) hard copy
2 | Signed and sealed construction plan - One (1) hard copy, PDF, and CAD
3 | Show Chlorine Injection Point(s) in the plan.
4 | Show Sample Point(s) in the plan.
5 | Supporting Document if required.
6 | Use utilitypermits@plantcitygov.com for the City's contact person's email in the application form.
Hillsborough County Environmental Protection Commission (HCEPC) Permit Checklist
Permit Type | DEP FORM 62-604.300(8)(a) A Domestic Wastewater Collection.Transmission System
ITEM | DESCRIPTION | NOTE
1 | Completed the latest permit application form - One (1) hard copy
2 | Signed and sealed construction plan - One (1) hard copy, PDF, and CAD
3 | Lift Station Calculation
4 | Supporting Document if required.
5 | Use utilitypermits@plantcitygov.com for Part III.(3) Email.
SUBMIT TO: | Jay Kwag
Utilities Department
1802 Spooner Dr., Plant City, FL 33563
* Please allow 14 days to review your application. Incomplete submittals(s) will NOT be processed.

## ClearanceAPP
Utility Clearance Application Checklist
PROJECT NAME:
ENGINEER:
DATE:
Please complete the checklist and submit along with the utility clearance application.
Hillsborough County Department of Health (HCDOH) Permit Checklist
Permit Number
Approval Date
ITEM | DESCRIPTION | NOTE
1 | Completed the latest FDEP or HC clearance application form - One (1) hard copy
2 | Signed and sealed as-built - One (1) hard copy, PDF, and CAD
3 | Pressure Test Report
4 | Bac-T Report
5 | Highlight the chlorine injection point(s) and sample point(s) in the as-built.
6 | Use utilitypermits@plantcitygov.com for the City's contact person's email in the application form.
Hillsborough County Environmental Protection Commission (HCEPC) Permit Checklist
Permit Number
Approval Date
ITEM | DESCRIPTION | NOTE
1 | Completed the latest FDEP clearance application form - One (1) hard copy | DEP Form 62-604.300(8)(b)
2 | Signed and sealed as-built - One (1) hard copy, PDF, and CAD
3 | Lift Station start-up report
4 | Pressure Test Report
5 | CCTV, and Infiltration/Inflow Inspection Report
6 | Use utilitypermits@plantcitygov.com for Part III.(2) and (3) Email.
SUBMIT TO: | Jay Kwag / Utilities Department
1802 Spooner Dr., Plant City, FL 33563
* Please allow 3 working days to review your application. Incomplete submittals(s) will NOT be accepted.